Specifications for DC500

ASSA ABLOY Door Closer DC500 with Cam-Motion technology and guide rail in compliance with EN 1154

- Closing power adjustable, EN size 1-4, for doors up to 1100 mm wide

- Closing speed, latching speed and backcheck adjustable via front facing regulating valves

- Can be used with integrated concealed mounting plate, suitable for fire and smoke protection doors

- CE approved

- 14 mm height adjustable arm system for ease of fitting

- Standard and frame mounting on hinge and non-hinge side of the door

- Suitable for left and right-handed doors

- Hold-open device continuously adjustable between ca. 80° and 130°

- Hold-open device is traversable

Accessories

- Standard guide rail G193

- Height-adjustable guide rail G195

- Mounting plate A120

- Mounting plate A130 for guide rail G193 and G195

- Angle bracket A104 for guide rail G193

- Replacement plate A124

- Mechanical opening damper A153

- Mechanical hold-open device A152 (not for fire and smoke protection doors)

- Glass door shoe A166

- Screening plate A190

Colours/Finishes

- Silver EV1

- White, similar to RAL9016

- Brown, similar to RAL8014

- Black, similar to RAL9005

- Stainless steel design

- Stainless steel full cover

- Customised finishes available on request