Specifications for DC700G-CM

ASSA ABLOY door closer with Cam-Motion technology, extended mounting plate and integrated Close-Motion element; guide rail with Close-Motion control curve.

- Closing power adjustable, EN size 3-6, for doors up to 1400 mm wide

- Door closer DC700 tested in accordance with DIN EN 1154, with CE mark

- Closing speed, latching speed and backcheck continuously adjustable

- 14 mm height adjustable arm system for ease of fitting

- Suitable for fire and smoke protection doors

- Suitable for left- and right-handed doors

- Close-Motion element horizontal (± 6mm) and vertical (± 5 mm) adjustable

Accessories

- Mounting plate A131

- Mechanical opening damper A188

- Mech. hold-open device A158 (not for fire and smoke protection doors)

- Tamper protection M220 / M225

- Adapter plate A230 /A240 / A250 / A260

- Adapter plate A275 / A276 / A277 for Close-Motion body

Colours/Finishes

- Silver EV1

- Stainless steel design

- Customised finishes available on request