Specifications for DC135

ASSA ABLOY Door Closer DC135 featuring rack and pinion technology with guide rail in compliance with EN 1154

- Closing force EN size 3, for doors up to 950 mm wide

- Closing speed, latching speed and backcheck continuously adjustable

- Suitable for fire and smoke protection doors

- CE approved

- Suitable for left- and right-handed doors

Accessories

- Mounting plate A187

- Mechanical opening damper A153

- Mechanical hold-open device A152 (not for fire and smoke protection doors)

- Mounting plate A130 for guide rails

Colours/Finishes

- Silver EV1

- White, similar to RAL9016

- Brown, similar to RAL8014

- Black, similar to RAL9005