Specifications for DC140

ASSA ABLOY Door Closer DC140 featuring rack and pinion technology in compliance with EN 1154

- Closing force configurable, EN size 2/3/4/5, for doors up to 1250 mm wide

- Closing speed, latching speed and backcheck continuously adjustable

- Suitable for fire and smoke protection doors

- CE approved

- Suitable for left- and right-handed doors

Accessories

- Link arm L140

- Hold-open link arm L141 (not for fire and smoke protection doors)

- Guide rail G143 (not for fire and smoke protection doors)

- Parallel arm bracket A154

- Mounting Plate A161

Colours/Finishes

- Silver EV1

- White, similar to RAL9016

- Brown, similar to RAL8014

- Black, similar to RAL9005