Specifications for DC300

ASSA ABLOY Door Closer DC300 featuring rack and pinion technology in compliance with EN 1154

- Closing power adjustable, EN size 3-6, for doors up to 1400 mm width

- Closing speed, latching speed and backcheck adjustable via front facing regulating valves

- Can be used with integrated concealed mounting plate, suitable for fire and smoke protection doors

- CE approved

- 14 mm height adjustable arm system for ease of fitting

- Suitable for left- and right-handed doors

Accessories

- Link arm L190

- Hold-open link arm L191 
(cannot be used with fire and smoke protection doors)

- Mounting plate A120

- Angle bracket A123

- Parallel arm bracket for parallel arm mounting A154

- Glass door shoe A165

- Full stainless steel cover A173

Colours/Finishes

- Silver EV1

- White, similar to RAL9016

- Brown, similar to RAL8014

- Black, similar to RAL9005

- Customised finishes available on request